
Extremity Riser
SETUP SHEET – Sample Setup: Couchside Bilateral Hands

	Patient
	
	Date of Birth
	

	Notes
	



Reference Images:
	ORIENTATION: LONGITUDINAL
	ORIENTATION: TRANSVERSE
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	INDEXING EXTREMITY RISER TO MULTIFIX 2
	USING INDEXING POSTS
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	ORIENTATION SELECTION 

	Orientation Selection: Extremity Riser
Direction of corner arrows relative to gantry at Sim
	☐ Longitudinal 
	☐
	☐

	
	☐ Transverse
	☐
	☐ 

	TREATMENT PLAN ROTATED FROM SIMULATION?   
	☐ Yes:  ____ᵒ         ☐ No          ☐ Unknown at Sim

	LOK-BAR(S) INDEXED TO COUCHTOP AT

	Lok-Bar 1
	
	Transverse Lok-Bar used?
	☐ Yes               ☐ No

	Lok-Bar 2   OPTIONAL 
	​​☐​ Slide Guide      ☐​ N/A
	Transverse Lok-Bar setting:
	



	configuration
	☐ Riser *          
☐ Direct to couchtop
	[image: ]
[image: ]

	Indexing Posts / 
custom cushion Used?
	☐ Yes          ☐ No
	

	INDEXING POST 1 indexed at
	
	

	INDEXING POST 2 indexed at
	
	

	INDEXING POST 3 indexed at
Indexing Posts are interchangeable
	
	

	tHERMOPLASTIC uSED?
	☐ Yes          ☐ No
	

	fRAME 1
	
	

	fRAME 2
	
	

	fRAME 3
	
	


 
*IF USING IN RISER CONFIGURATION, SEE SETUP SHEET FOR MULTIFIX® 2

Optional additional accessories:
☐  Cushions / devices for support / comfort / clinical setup, e.g. pillows
☐  Vacuum Bag 
☐  Accuform™ / custom cushion without Indexing Posts     

	Additional accessory
	
	Indexed To PLATFORM AT
	

	Additional accessory
	
	Indexed To PLATFORM AT
	

	Additional accessory
	
	Indexed To PLATFORM AT
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	ORIENTATION SELECTION 

	Orientation Selection: Extremity Riser
Direction of corner arrows relative to gantry at Sim
	☐ Longitudinal 
	☐
	☐

	
	☒ Transverse
	☐
	☒ 

	TREATMENT PLAN ROTATED FROM SIMULATION?   
	☒ Yes:  90ᵒ             ☐ No          ☐ Unknown at Sim

	LOK-BAR(S) INDEXED TO COUCHTOP AT

	Lok-Bar 1
	H3
	Transverse Lok-Bar used?
	☒ Yes               ☐ No

	Lok-Bar 2   OPTIONAL 
	☐ Slide Guide        ☒ N/A
	Transverse Lok-Bar setting:
	10cm



	configuration
	☐ Riser *          
☒ Direct to couchtop
	[image: ]

	Indexing Posts / 
custom cushion Used?
	☒ Yes         ☐ No
	

	INDEXING POST 1 indexed at
	R5
	

	INDEXING POST 2 indexed at
	V5
	

	INDEXING POST 3 indexed at
Indexing Posts are interchangeable
	N/A
	

	tHERMOPLASTIC uSED?
	☐ Yes          ☐ No
	

	fRAME 1
	P2 / U2
	

	fRAME 2
	P8 / U8
	

	fRAME 3
	Y4 / Y6
	


 
*IF USING IN RISER CONFIGURATION, SEE SETUP SHEET FOR MULTIFIX® 2
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