|  |  |  |  |
| --- | --- | --- | --- |
| Patient |  | Date of Birth |  |
| Notes |  | | |

**IMPORTANT INSTRUCTIONS, PLEASE READ:**When indexing to the Universal Couchtop, use the indexing marks along the side of the couchtop for indexing Lok-Bars™ and the indexing marks along the top of the couchtop for indexing Body Pro-Lok ONE devices.

* When transferring a setup from the Universal Couchtop or ONEPlatform to the Body Pro-Lok ONE Rails-Only System, the ONEBridge™ must be adjusted and set 50 mm lower than on the Universal Couchtop or ONEPlatform\*.
* When transferring a setup from the Universal Couchtop or ONEPlatform to the iBEAM® evo Couchtop with the Body Pro-Lok ONE evo Adapter, reference Appendix A for available setup regions\*.

*\*Separate set-up sheets for Body Pro-Lok ONE Rails-Only and evo Adapter are available.*

**If utilizing the ONEPlatform, start at #1  
If indexing directly to the Universal Couchtop, start at “Respiratory Plate” (page 2)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Lok-Bars for indexing the ONEPlatform are indexed to table at | | |  | |
| Lateral Lok-Bar Position | Choose an item. | | | |
| Lateral Position (only if using a Transverse Lok-Bar) | | | | |
| Head end indexed at: |  | Foot End Indexed at: | |  |
| A white paper with black text  Description automatically generated | | A close-up of a spiral notebook  Description automatically generated | | |

|  |  |  |  |
| --- | --- | --- | --- |
| Wing Board Used? | Choose an item. | Wing Board Indexed at |  |
| Headrest Used? | Choose an item. | | |
| Vac-Lok Used? | Choose an item. | Vac-Lok Lok-Bar Indexed at |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Respiratory Plate Used | Choose an item. |  | |
| 1) ONEBridge Side A |  |  | |
| 2) ONEBridge Side B |  |
| 3) Docking Index |  |
| 4) ONEBridge Lateral Position |  |
| 5) Respiratory Plate Height |  |
| 6) Respiratory Plate   Lateral Position | Choose an item. |
| **If using ComfortCare Cushion with  Wide Respiratory Plate)**  7) Set pressure between | & | |  |

|  |  |  |
| --- | --- | --- |
| Respiratory Belt Used? | Choose an item. | **ZiFix Traverse**  Diagram of a device with wires attached to it  Description automatically generated    **Body Pro-Lok ONE Respiratory Belt**  A diagram of a device  Description automatically generated |
| 1) LEFT Docking Index |  |
| 1) Right docking index |  |
| 2) Left velcro indexed at |  |
| 3) Right velcro indexed at |  |
| 4) Set pressure between | & |

|  |  |  |  |
| --- | --- | --- | --- |
| Patient hAND GRIPS USED? | Choose an item. | | |
| rIGHT HAND GRIP INDEXED AT |  | lEFT HAND GRIP INDEXED AT |  |

|  |  |  |
| --- | --- | --- |
| Bridge with Clam-Lok  Cushion Used? | Choose an item. | Diagram, engineering drawing  Description automatically generated |
| 1) ONEBridge Side A |  |
| 2) ONEBridge Side B |  |
| 3) Docking Index |  |
| 4) ONEBridge Lateral Position |  |

|  |  |  |  |
| --- | --- | --- | --- |
| KneeFix Used? | Choose an item. | Indexed to ONEPlatform or UCT Device at |  |
| location of kneefix on loK-bar | Choose an item. |
| Feetfix Used? | Choose an item. | Indexed to ONEPlatform or UCT Device at |  |
| location of feetfix on loK-bar | Choose an item. |

|  |  |  |  |
| --- | --- | --- | --- |
| flexlock knee support used? | Choose an item. | Indexed to ONEPlatform or UCT Device at |  |
| location of knee support on loK-bar | Choose an item. |
| Leg Strap Used? | Choose an item. |
| Flexlock feet support used? | Choose an item. | Indexed to ONEPlatform or UCT Device at |  |
| location of feet support on loK-bar | Choose an item. |
| Angle of Feet Support | Choose an item. |
| Foot Strap used? | Choose an item. |

|  |  |  |  |
| --- | --- | --- | --- |
| Additional indexable accessory |  | Indexed To PLATFORM AT |  |
| Additional indexable accessory |  | Indexed To PLATFORM AT |  |